## Sheet1
|  | Architecture | [11 empty] | Structure | [5 empty] | HVAC |  |  |  | Plumbing |  | Drainage |  | Fire-Fighting |  |  | Electrical
| Components | Ceilings | Curtain Panels | Curtain wall mullions | Doors | Floors | Railings | Ramps | Roofs | Speciality Equipment | Stairs | Walls | Windows | Columns | Foundations | Floors | Framing | Trusses | Walls | Air Terminals | Ducts/Acce/Fittings | Mechanical Equipment | Pipes & fittings | Pipes & fittings | Plumbing Fixtures | Pipes & fittings | Drainage Fixtures | Mechanical Equipment | Pipes & fittings | Sprinklers | Cable Trays & fittings | Communication Devices | Data Devices | Electrical Equipment | Electrical Fixtures | Fire Alarm Devices | Lighting Devices | Lighting Fixtures | Security Devices
Architecture | Ceilings
| Curtain Panels | H
| Curtain wall mullions | H | N/A
| Doors | N/A | H | N/A
| Floors | N/A | N/A | N/A | H
| Railings | N/A | N/A | N/A | H | N/A
| Ramps | N/A | N/A | N/A | H | N/A | N/A
| Roofs | N/A | H | H | H | N/A | N/A | N/A
| Speciality Equipment | H | H | H | H | H | H | H | N/A
| Stairs | N/A | H | H | N/A | N/A | N/A | N/A | N/A | H
| Walls | N/A | N/A | H | N/A | N/A | N/A | N/A | H | H | H
| Windows | N/A | N/A | N/A | N/A | H | H | H | H | H | H | N/A
Structure | Columns | N/A | H | H | H | N/A | H | H | N/A | H | H | N/A | H
| Foundations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Floors | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Framing | H | H | H | H | N/A | N/A | H | N/A | H | H | H | N/A | N/A | N/A | H
| Trusses | H | H | H | H | N/A | N/A | H | N/A | H | H | H | N/A | N/A | N/A | H | H
| Walls | N/A | H | H | H | H | H | H | H | H | H | H | H | N/A | N/A | N/A | H | H
HVAC | Air Terminals | N/A | H | H | H | N/A | N/A | N/A | N/A | H | H | H | H | H | N/A | N/A | H | H | H
| Ducts/Acce/Fittings | C-50 | H | H | H | H | N/A | N/A | H | H | H | C-50 | H | C-50 | N/A | H | H | C-50 | C-50 | H
| Mechanical Equipment | C-50 | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | C-50
| Pipes & fittings | C-50 | H | H | H | N/A | N/A | N/A | C-50 | H | H | C-50 | H | H | N/A | N/A | H | H | C-50 | C-50 | C-50 | C-50
Plumbing | Pipes & fittings | C-50 | H | H | H | N/A | N/A | N/A | C-50 | H | H | C-50 | H | H | N/A | N/A | H | H | H | C-50 | C-50 | C-50 | C-150
| Plumbing Fixtures | N/A | H | H | H | N/A | N/A | N/A | N/A | H | N/A | H | H | H | N/A | N/A | H | H | H | N/A | N/A | N/A | N/A | N/A
Drainage | Pipes & fittings | C-50 | H | H | H | H | H | N/A | H | H | H | C-50 | H | H | H | N/A | H | H | H | C-50 | C-50 | C-50 | C-150 | C-150 | H
| Drainage Fixtures | N/A | H | H | H | H | H | H | H | H | H | H | H | H | H | N/A | H | H | H | N/A | H | N/A | H | H | H | H
Fire-Fighting | Mechanical Equipment | C-50 | H | H | H | N/A | N/A | N/A | H | H | H | H | H | H | H | H | H | H | H | H | C-50 | H | C-50 | H | C-25 | H | H
| Pipes & fittings | C-50 | H | H | H | N/A | H | H | H | H | H | H | H | H | H | H | H | H | H | H | C-50 | H | C-150 | C-150 | H | C-150 | H | C-50
| Sprinklers | N/A | H | H | H | N/A | N/A | N/A | N/A | H | H | H | N/A | H | H | H | H | H | H | H | C-50 | H | C-50 | C-50 | N/A | H | N/A | N/A | N/A
Electrical | Cable Trays & fittings | C-50 | H | H | N/A | N/A | N/A | N/A | N/A | H | H | H | N/A | H | N/A | H | H | H | H | H | C-300 | H | C-300 | C-300 | N/A | C-300 | N/A | C-50 | C-300 | H
| Communication Devices | N/A | H | H | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Data Devices | N/A | H | H | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Electrical Equipment | N/A | H | H | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | H | N/A | N/A | H | N/A | N/A | N/A | C-300 | C-50 | C-100 | C-100 | N/A | C-100 | N/A | C-50 | C-100 | H | H | H | H
| Electrical Fixtures | N/A | H | H | H | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | H | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | H | N/A | N/A | N/A | H
| Fire Alarm Devices | N/A | H | H | H | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | H | N/A | N/A | H | N/A | N/A | C-100 | H | H | C-100 | C-100 | N/A | C-100 | N/A | N/A | C-100 | H | H | N/A | N/A | H | H
| Lighting Devices | N/A | H | H | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | H | N/A | N/A | H | H | C-50 | H | H | N/A | H | N/A | C-50 | H | H | H | N/A | N/A | H | N/A | H
| Lighting Fixtures | N/A | H | H | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | H | N/A | N/A | H | N/A | N/A | H | H | C-50 | H | H | N/A | H | N/A | C-50 | H | H | H | N/A | N/A | H | N/A | H | H
| Security Devices | N/A | H | H | H | N/A | N/A | N/A | N/A | H | N/A | H | N/A | H | N/A | N/A | H | N/A | H | H | H | C-50 | H | H | N/A | H | N/A | C-50 | H | H | H | N/A | N/A | H | N/A | H | H | H
Key
|  | H | Hard clash - Where two components are in confilict with each other.
|  | C | Clearance reuired. Clearance value in mm indicated next to C.
|  | N/A | Not Applicable.